## Energy Savings
Customer Name:
Energy Savings Due to Lower Pressure Drop
| CFM (Cubic Feet Per Minute) | 24400
| Electrical Cost per kW | 0.07
| Collector Running Hours Per Year | 4000
| Annual Energy Savings Due to Reduced Delta P | 1649.9338
Notes:
The above energy savings assumes a 1.5" pressure drop difference between a collector with standard
80/20 blend cartridges and the same collector with Ultra-Web Cartridges. Other assumptions include the use
of a variable frequency drive, a fan efficiency of 81%, 0.746 watts of energy per HP and a 90% electrical
transmission efficiency.
Your results may vary.
Labor Savings Per Ultra-Web Changeout
| Enter Number of Cartridges | 64
| Enter # of Cartridges 1 Person Can Change Per Hour | 20 | Averages between 14 - 30 cartridges per hour.
| Enter Labor Rate Per Hour | 45 | Be sure to factor in overtime rates and benefits.
| Total Labor Savings Per Ultra-Web Changeout | 108 | Assuming Ultra-Web cartridges last 50% longer than your current cartridges, this is how much labor you will save each time you replace with Ultra-Web cartridges.
Cartridge Cost Savings Per Ultra-Web Changeout
| Enter Number of Cartridges | 64
| Enter Cost Per Cartridge | 72
| Enter Cost Per Ultra-Web Cartridge | 96
| Total Bag Cost Savings Per Ultra-Web Changeout | 768 | Assuming Ultra-Web cartridges last 50% longer
than your current cartridges, this is how much
Money you will save each time you replace with
Ultra-Web cartridges.
| Total Cost Savings | 2525.9338